## Slide 1
Dubna PAC meeting, June 14-15, 2017
Commissioning of the ACCULINNA-2
fragment separator and
its first day experiments
Andrey Fomicheva
for ACCULINNA Collaboration
a – Flerov Laboratory of Nuclear Reactions, JINR, Dubna, Russia
b – Institute of Physics, Silesian University in Opava, Czech Republic
c – Bogolyubov Laboratory of Theoretical Physics, JINR, Dubna, Russia
d – GSI Helmholtzzentrum fur Schwerionenforschung, Darmstadt, Germany
e – National Research Center “Kurchatov Institute”, Moscow, Russia
f – Institute of Nuclear Physics PAN, Krakow, Poland
g – Skobel’tsyn Institute of Nuclear Physics, Moscow State University, Russia
h – Faculty of Physics, University of Warsaw, Warsaw, Poland
i – Fundamental Physics, Chalmers University of Technology, Goteborg, Sweden
j – All-Russian Research Institute of Experimental Physics, Sarov, Russia
k – Ioffe Physical Technical Institute, St. Petersburg, Russia
l – NSCL, Michigan State University, East Lansing, Michigan, USA

## Slide 2
F5
F3
F3
F2
F1
F4
F2
F1
F0
6 m
Setup layout
&
Today status
F0
total length F0-F5 ~53m
39 magnetic elements

## Slide 3
Setup layout in F3-F5
F5
F5: Dipole magnet – installed, detector system & electronics in a progress; new reaction chamber is recently delivered;
F3: RF-kicker – contracted in 2016, will be ready in the middle 2018
F3
gap
Frequency range (MHz) | 15 – 22
Peak voltage (KV) | 120
Gap (mm) | 70
Width of electrode (mm) | 120 min
Length of electrodes (mm) | 700
Cylinder diameter (mm) | 1200 max
Stem diameter (mm) | 120 max
Length of coaxial line (mm) | 1830

## Slide 4
X-MAX 0.25 m
5.0 m
Y-MAX 0.25 m
F1 F2 F3 F4 F5
target wedge/slits slits
RIB’s profile estimation in 15N (49.7 AMeV) + Be (2 mm) reaction
(X1 _Y1 = 2_8 mm,  = 35 mrad, Δp/p = 2.5%, W = 1 mm)
- 15N profile at F3 depending on F1 diaph. ( 25, 12, 7 mm)
-- main parameters (I, P, X_Y) of some RIBs at F3, F4, F5
Goals of the test
in March 2017:
2 см
2 см

## Slide 5
Beam profile of 15N at F3 with 7 mm diaphragm at F1
~ 8
F3: X_Y ~ 8_7 mm
~ 7
* Ion optics working well !
** RIB production could be started
4х4 мм

## Slide 6
12Be from 15N(49.7 AMeV) + Be(2 mm):
I = 190 1/s @ 1 pnA; Δp/p = 4%; P ~ 92%; E = 39.4 AMeV; X5 _Y5 = 22_25 mm
Good agreement with calculation & Factor ~ 25 (I_Acc2 / I_Acc1)
25 mm
22 mm
12Be
11Be
11Li
8Li
9Li
8He
6He
Multipoles OFF
12Be
8He

## Slide 7
6Нe from 15N(49.7 AMeV) + Be(2 mm):
I = 2700 1/s @ 1 pnA; Δp/p = 2%; E = 31.5 AMeV;
X5 _Y5 = 20_20 mm; P ~ 53% @ F3: ±11 mm
Multipoles ON
6He
6He
8Li
7Li
8Li
7Li
9Be
9Be
20 mm
6He
6He
It good agrees with estimations

## Slide 8
RIBs production rates in 15N(49.7 AMeV) + Be(2 mm) reaction
F1: I(15N) = 1 pnA @ 7 mm; F2: Δp/p = 2%, Wedge_Be = 1 mm
RIB | Energy, MeV/nucl. | Intensity, 1/s
14B | 37,7 | 120
12Be | 39,4 | 150
11Li | 37,0 | 4
9Li | 33,1 | 1100
8He | 35,8 | 25
6Не | 31,5 | 2700
Main parameters (I, P, X_Y) are agree well with estimations
First experiments with RIBs could be started in 2017 (I < 0.1 pA)
Experiments with intense primary beam (~ 1 pA) will be able since 2018
12Be + d → 6Li + 8He (alpha transfer cross section)
6He + d → 3He + 5H (proton transfer cross section)
2017
Experiments
in 2017
Moving ahead to 7H via 11Li or 8He
2018 - flagship exp.

## Slide 9
coincidences
Counts/0.6 MeV
Counts/0.2 MeV
E=15.3 AMeV
E=25 AMeV
Fortier et al.,
EXON-2006 p.3
Golovkov et al.,
EXON-2006 p.32
s~15 mb/sr
s~10 mb/sr
d(8He,3He)7H
7H puzzle: each time only limits of σ were observed
 Drastically improvement of sensitivity in d(8He,3He)7H or p(8He,pp)7H
 11Li as a projectile and alpha transfer reaction d(11Li,6Li)7H
p(8He,pp)7H
Counts/1.5 MeV
Korsheninnikov et al.,
PRL 90(2003)
E=61 AMeV
s~30 mb/sr
Nikolskii et al.,
PRC 81 (2010)
d(8He,3Het)7H
7H missing mass (MeV)
Caamaño et al. PRL 99(2007) 12C(8He,13N)7H ==>
E = 0.57
+0.42
-0.21
MeV, Γ = 0.09
+0.94
-0.06
MeV

## Slide 10
Decay tritons & 11Li,
Br = 0.4 ~ 1.0 Tm
Cone 0 ~ 14°
Br=0.4
Br=1.0
Neutrons,
Cone 0 ~ 14°
Hodoscope X_Y~20x80 cm
(it should be done)
11Li
D-target
3x1021 at/cm2
Hunt for 7H and search for the 4n radioactivity
in the d(11Li,6Li)7H reaction
annular
Si –telescope for 6Li
E~30 MeV/A
Stilbene modules
 80x50 mm → 0.25° accuracy
7x6=42 → 64 units
* I(11Li @ 30 AMeV) ~ 2x104 pps ==> ~ 100 7H events/day (missing mass)
** Decay energy will be measured with around 100 keV resolution,
~ 3 events/day (6Li-t-n coincidences)
Plan on 2018
Notes: SIGMAPHI PRESENTATION - JUNE 2001

## Slide 11
6Li
8He
Angular range
Plan on 2017: d(12Be,6Li)8He as a tool for the main run d(11Li,6Li)7H
* alpha transfer cross section at 25 and 35 AMeV;
** useful kinematics to detect two stable particles via annular telescope;
*** could be done at I(15N) ~ 100 pnA ==> I(12Be) ~ 2*104 pps; BT ~ 2 weeks
E.Rich et al., 2005 Proc. EXON, Peterhof, Russia ==>
d(8He,6Li)4n @ 15.4 AMeV dσ/d ~ 0.2÷1.0 mb/sr

## Slide 12
Plan on 2017: d(6He,3He)5H as a tool for the main run d(8He,3He)7H
* cross section values for the 1p and 1n transfer reactions in a wide θCM
** improvement in missing mass measurements via novel telescopes
5H (left) and 5He (right) energy spectra depending on 3He-t coincidences
Stepantsov et al.,
NPA 738 (2004) 436
Si - 70 
Si - 1000 
CsI – 15 mm
(single)
Si - 22 
Si - 1000 
CsI – 45 mm
(16 units)
x4
~2
6He
BT ~ 1 week

## Slide 13
Miernik et al., NIM A581 (2007) 194
Beta-delayed proton emission from 27S and 26P
via Optical Time Projection Chamber /Janiak et al., PRC 95 (2017) 034315/
26P |  |  |  | 27S |  |  | 
Pβp 415 кэВ | Pβp ~800 кэВ | Pβ2p | Ptot | Pβp 320 кэВ | Pβp 710 кэВ | Pβ2p | Ptot
10.4(9)% ÷ 13.8(10)% | 1.1(3)% | 1.5(4)% | 35(2)% | 24(3)% ÷ 28(2)% | > 6.7(8)% | 3.0(6)% | 64(3)%
17.96(90)% | 2.5(3)% | 2.2(3)% | 39(2)% | 2.3±0.9% |  | 1.1±0.5% | ~ 4%
Canchel et al., EPJ A12 (2001) 377
Pβ3p < 0.08%
27S
Thomas et al., EPJ A21 (2004) 419
EPJ A12

## Slide 14
23Si: b delayed 3He radioactivity search via OTPC
32S(@52 AMeV, 100 pnA)
→ 8 pps 23Si (T1/2 = 42.3 ms)
“… 23Si has an open channel for the beta delayed 3He emission - never seen before. Moreover, this channel should be relatively easy to see, because the beta-alpha decay leads to the unbound 19Na. Thus, the 3He channel is the only one in which a single particle with Z=2 is emitted. The 3He emission is a sort of a mirror of tritium emission - this may contain some physics. This point was born in discussion with Karsten Riisager and Hans Fynbo in Aarhus. It would be great if we could make the 23Si experiment at Dubna.”
3He
Proposal by M. Pfützner et al.
Acculinna-2
BT ~ 0.5 week

## Slide 15
ACCULINNA-2 fragment separator is commissioned in 2017,
the design parameters of this facility were experimentally confirmed.
The intensities obtained in the fragmentation reaction
15N (49.7 AMeV) + Be (2 mm) for the RIBs of 14B, 12Be, 9,11Li, 6,8He were on average 25 times higher in comparison with the values for old facility.
The first-priority experimental program with RIBs is focused on 7H and 23Si nuclides and their possible exotic decays.
It will be started this year.
Thanks for your attention
Summary and outlook

## Slide 16
Acculinna-2 since 2017/18
Product name | Tmin U400M | Beam, E, I | Method, equipment
27S : P(β3p) – value/limit 23Si : P(β3He) – yes/no/limit 26S : observation, states | One week | 32S, 52 AMeV, 0.2 − 0.5 pμA | OTPC, chopper & RF-kicker p(28S,t)26S missing mass & RF-kicker
17Ne : 2p decay for 3/2− state Γ2p/Γ → 0.0002% 7Н : observation, states, 4n decay 10Li : Е and Γ for ground state | Two or more weeks | 20Ne, 54 AMeV, 1.0 pμA 15N, 49 AMeV, 1.0 pμA | p(18Ne,d)17Ne* combined mass, zero angle spec. . d(8He,3He)7H d(11Li,6Li)7H p(11Li,d)10Li combined mass
10He : 13Li : 16Be : | Three or more weeks | 11B3+, 34 AMeV, 4.0 pμA 22Ne7+, 44 AMeV, 1.0 pμA | t(8He,p)10He t(11Li,p)13Li t(14Be,p)16Be
Request / Cost
Е, Γ, Jπ of excited states, search for exotic decays 2n, 4n
tritium target, neutron array

## Slide 17
Z
ERIB, AMeV
ACC-2 @ U400M advantages:
Room T operating
Relatively low cost beam time
Runs during 2,3 and even more weeks are possible
Cryogenic targets 3He, 4He and all hydrogen isotopes
ToF length ~15 m

## Slide 18
ERICA - Electron-Radioactive Ion Collider @ ACCULINNA-2
Oganessian et. al.,
K4-K10 project
Z. Phys. A341(1992)217

## Slide 19
Multipoles OFF
Multipoles ON
27 mm
~ 24
12Be transfers profile at F5 (by S.V. Stepantsov)
~ 25

## Slide 20
Multipoles OFF
Multipoles ON
12Be transfers profile at F5
Multipoles OFF
Multipoles ON

26 mm
22 mm
23 mm
20 mm
15N(49.7 AMeV) + Be(2 mm) →
12Be @ 39.4 AMeV;
Wedge(Be, 1 mm), Δp/p = 4%

## Slide 21
NNDC: T1/2 ~ 10 ms
Acculinna-1: ToFF1-F4 ~ 0.0003 ms
Experiment (implantation method):
T1/2 < 79 ns, Q2p > 640 keV
Fomichev et al., IJMP E20 (2011) 1491
26S: search via missing mass measurement
Acculinna-2 with RF-kicker
missing mass in p(28S,t)26S:
I(28S)~103 pps, P~12%, E~38 MeV/A,
1 mm liquid H2 , σ~200 μb/sr ==>
~ 10 events 26S per week
p(28S,t)26S
tritons
26S

## Slide 22
Basic scheme of the complex.
FS—filling system; RS—tritium recovery and radiation
monitoring system; RC—reaction chamber; TT—tritium target; GSE—gas supply/evacuation line; BS1(2)—hydrogen (deuterium) source; BS3—tritium source; BS4, BS5—traps; GC, GC1—helium gas-cylinders; D1, D2—pressure gauges; D3, D4—vacuum gauges; FP1, FP2—vacuum pumps (BOC EDWARDS GVSP 30); TMP1, TMP2—turbo pumps (STR-300M); MV—measuring vessel (270 cm3); G1, G2—getters; VE1–VE6 valves (open circles show all other valves); IC1, IC2—ionization chambers; VM1, VM2—vacuum gauges blocking the gas release in ventilation in excess of a given level of the gas-specific volumetric activity.
A.A. Yukhimchuk et al.,
NIM A513 (2003) 439.
Gas:
ϕ=25 mm, d=3÷6 mm,
T=26 K, P=0.92 Atm,
x=3*1020 Atm/cm2
Liquid:
ϕ=20 mm, d=0.4÷0.8 mm, w=2x8.4 μ stainless steel, x=1.1*1021 Atm/cm2
I ≤ 960 Ci (3.54*1013 Bq)
Physical unique targets H, He